## US Generators
Residential Price List — US Generators
Effective 2026-02-02
Specification # | Description | Standby (kW) | LCB (Amp) | MSRP | Total Cost to Customer
RESIDENTIAL GENERATOR PRICE LIST
AIR-COOLED AUTOMATIC STANDBY GENERATOR, NG/LP, COLOR : KOHLER CASHMERE
Standard Features: UL2200/CSA Approval, Battery Cables, Fuel Solenoid Valve & Secondary Regulator, Oil Drain Extension With Shutoff Valve, Rodent-Resistant Construction, Critical Silencer, Sound-Deadening, Flame-Retardant Sound Shield Foam, Carb- And EPA-Certified Fuel System, Flex Fuel Line, Easy-Connect Terminal Block, Five-Year Comprehensive Warranty, Factory Set for NG, Field Convertible to LP, OnCue Plus
10RESV-QS8 | 10RESV, 1 PH, 240V, UL/cUL | 10 | 50 | 4034.18 | 3976.255
10RESVL-100LC12 | 10RESVL,RXT 100 Amp, LC-12 spaces, NEMA1 | 10 | 50 | 4573.76 | 4505.945
12RES-QS11 | 12RES, 1 PH, 120/240V, UL/cUL (No OnCue Plus on ADC Controller) | 12 | 40 | 5859.98 | 5782.675
12RESV-QS8 | 12RESV, 1 PH, 240V, UL/cUL | 12 | 60 | 4482.98 | 4425.445
12RESVL-100LC12 | 12RESVL,RXT 100 Amp, LC-12 spaces, NEMA1 | 12 | 60 | 5022.56 | 4955.135
14RCA-QS6 | 14RCA, 1 PH, 240V, cUL/US, CSA | 14 | 70 | 5196.98 | 5082.0231
14RCA-QS7 | 14RCA, 3 PH, 208V, cUL, CSA | 14 | 50 | 5502.98 | 5363.7731
14RCA-QS8 | 14RCA, 3 PH, 240V, cUL, CSA | 14 | 50 | 5502.98 | 5363.7731
14RCA-QS9 | 14RCA, 3 PH, 480V, cUL, CSA | 14 | 25 | 5502.98 | 5363.7731
14RCA-QS5 | 14RCA, Shadow Grass, 1PH, 60hz,240V, cUL | 14 | 70 | 6318.98 | 6168.7731
14RCA-QS10 | 14RCA, Break-Up Ctry, 1PH,60hz,240V, cUL | 14 | 70 | 6318.98 | 6168.7731
14RCA-QS200 | 14RCA, Pegasus, 1PH, 60Hz, 240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCA-QS201 | 14RCA, French Gray, 1PH, 60Hz, 240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCA-QS202 | 14RCA, Dover Gray, 1 PH, 60Hz, 240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCA-QS203 | 14RCA, Pigeon Fthr, 1PH, 60Hz, 240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCA-QS204 | 14RCA, Nevergreen, 1 PH, 60Hz, 240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCA-QS205 | 14RCA, Admiralty, 1 PH, 60Hz, 240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCA-QS206 | 14RCA, Canyon Blue, 1PH, 60Hz, 240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCA-QS207 | 14RCA, Hunter Green, 1PH, 60Hz,240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCA-QS208 | 14RCA, Brick Dust, 1 PH, 60Hz, 240V, cUL | 14 | 70 | 5757.98 | 5605.2731
14RCAL-200SELS | 14RCAL,RXT 200 Amp,SE,Load Shed,NEMA 3R | 14 | 70 | 6155.78 | 6037.055
AIR-COOLED AUTOMATIC STANDBY GENERATOR, NG/LP, COLOR : KOHLER CASHMERE (CON'T)
Standard Features: UL2200/CSA Approval, Battery Cables, Fuel Solenoid Valve & Secondary Regulator, Oil Drain Extension With Shutoff Valve, Rodent-Resistant Construction, Critical Silencer, Sound-Deadening, Flame-Retardant Sound Shield Foam, Carb- And EPA-Certified Fuel System, Flex Fuel Line, Easy-Connect Terminal Block, Five-Year Comprehensive Warranty, Factory Set for NG, Field Convertible to LP, OnCue Plus
20RCA-QS6 | 20RCA, 1 PH, 240V, cUL/US, CSA | 20 | 100 | 6012.98 | 5913.085
20RCA-QS7 | 20RCA, 3 PH, 208V, cUL/US, CSA | 20 | 70 | 6318.98 | 6194.835
20RCA-QS8 | 20RCA, 3 PH, 240V, cUL/US, CSA | 20 | 60 | 6318.98 | 6194.835
20RCA-QS9 | 20RCA, 3 PH, 480V, cUL/US, CSA | 20 | 30 | 6318.98 | 6194.835
20RCA-QS5 | 20RCA, Shadow Grass, 1PH, 60hz,240V, cUL | 20 | 100 | 7134.98 | 6999.835
20RCA-QS10 | 20RCA, Break-Up Ctry, 1PH,60hz,240V, cUL | 20 | 100 | 7134.98 | 6999.835
20RCA-QS200 | 20RCA, Pegasus, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCA-QS201 | 20RCA, French Gray, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCA-QS202 | 20RCA, Dover Gray, 1 PH, 60Hz, 240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCA-QS203 | 20RCA, Pigeon Fthr, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCA-QS204 | 20RCA, Nevergreen, 1 PH, 60Hz, 240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCA-QS205 | 20RCA, Admiralty, 1 PH, 60Hz, 240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCA-QS206 | 20RCA, Canyon Blue, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCA-QS207 | 20RCA, Hunter Green, 1PH, 60Hz,240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCA-QS208 | 20RCA, Brick Dust, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6624.98 | 6476.585
20RCAL-200SELS | 20RCAL, RXT 200 A SE, N3R, w/LOAD Man | 20 | 100 | 6981.98 | 6867.815
AIR-COOLED AUTOMATIC STANDBY GENERATOR, NATURAL GAS, COLOR : KOHLER CASHMERE (CON'T)
Standard Features: UL2200/CSA Approval, Battery Cables, Fuel Solenoid Valve & Secondary Regulator, Oil Drain Extension With Shutoff Valve, Rodent-Resistant Construction, Critical Silencer, Sound-Deadening, Flame-Retardant Sound Shield Foam, Carb- And EPA-Certified Fuel System, Flex Fuel Line, Easy-Connect Terminal Block, Five-Year Comprehensive Warranty, Factory Set for NG, Field Convertible to LP, OnCue Plus
26RCA-QS1 | 26RCA, 1 PH, 240V, cUL, CSA | 26 | 110 | 7644.98 | 7498.931
26RCA-QS2 | 26RCA, 3 PH, 208V, cUL, CSA | 26 | 110 | 7950.98 | 7780.681
26RCA-QS3 | 26RCA, 3 PH, 240V, cUL, CSA | 26 | 110 | 7950.98 | 7780.681
26RCA-QS4 | 26RCA, 3 PH, 480V, cUL, CSA | 26 | 110 | 7950.98 | 7780.681
26RCA-QS50 | 26RCA, 1 PH, 240V, cUL, CSA, Cold Weather Kit | 26 | 110 | 8052.98 | 7840.251
26RCA-QS5 | 26RCA, Shadow Grass, 1PH, 60hz,240V, cUL | 26 | 110 | 8766.98 | 8585.681
26RCA-QS10 | 26RCA, Break-Up Ctry, 1PH,60hz,240V, cUL | 26 | 110 | 8766.98 | 8585.681
26RCA-QS200 | 26RCA, Pegasus, 1PH, 60hz, 240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCA-QS201 | 26RCA, French Gray, 1PH, 60hz,240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCA-QS202 | 26RCA, Dover Gray, 1PH, 60hz, 240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCA-QS203 | 26RCA, Pigeon Fthr, 1PH, 60hz,240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCA-QS204 | 26RCA, Nevergreen, 1PH, 60hz, 240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCA-QS205 | 26RCA, Admiralty, 1PH, 60hz, 240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCA-QS206 | 26RCA, Canyon Blue, 1PH, 60hz, 240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCA-QS207 | 26RCA, Hunter Green, 1PH, 60hz,240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCA-QS208 | 26RCA, Brick Dust, 1PH, 60hz, 240V, cUL | 26 | 110 | 8307.98 | 8102.681
26RCAL-200SELS | 26RCAL, RXT 200 Amp, SE, N3R, w/LOAD Man | 26 | 110 | 8613.98 | 8453.665
LIQUID-COOLED AUTOMATIC STANDBY GENERATOR, NG/LP, Color: Kohler Cashmere
Standard Features: UL2200/CSA, 60 Hz, Aluminum Sound Shield, Unit Mounted Radiator, Standard Air Intake, RDC2 Controller which includes a 2.5AMP Battery Charger, Flexible Fuel Lines, Coolant in generator, 45 C Cooling System and 5-Year Comprehensive Warranty, Factory Set for NG, Field Convertible to LP, OnCue Plus
24RCLA-QS1 | 24RCLA, 1 PH, 240V, UL, CSA | 24 | 100 | 18399.98 | 18086.7223
24RCLA-QS2 | 24RCLA, 3 PH, 208V, UL, CSA | 24 | 90 | 18756.98 | 18408.7223
24RCLA-QS3 | 24RCLA, 3 PH, 240V, UL, CSA | 24 | 80 | 18756.98 | 18408.7223
24RCLA-QS4 | 24RCLA, 3 PH, 480V, UL, CSA | 24 | 40 | 18756.98 | 18408.7223
24RCLA-QS50 | 24RCLA, 1 PH, 240V, UL, CSA, Blk Heater | 24 | 100 | 18756.98 | 18263.8223
30RCLA-QS1 | 30RCLA, 1 PH, 240V, UL, CSA | 30 | 150 | 20898.98 | 20585.3377
30RCLA-QS2 | 30RCLA, 3 PH, 208V, UL, CSA | 30 | 125 | 21255.98 | 20907.3377
30RCLA-QS3 | 30RCLA, 3 PH, 240V, UL, CSA | 30 | 100 | 21255.98 | 20907.3377
30RCLA-QS4 | 30RCLA, 3 PH, 480V, UL, CSA | 30 | 50 | 21255.98 | 20907.3377
30RCLA-QS50 | 30RCLA, 1 PH, 240V, UL, CSA, Blk Heater | 30 | 150 | 21051.98 | 20762.4376
38RCLC-QS1 | 38RCLC, 1 PH, 240V, UL, CSA | 38 | 175 | 23448.98 | 22797.4921
38RCLC-QS2 | 38RCLC, 3 PH, 208V, UL, CSA | 38 | 150 | 23754.98 | 23119.4921
38RCLC-QS3 | 38RCLC, 3 PH, 240V, UL, CSA | 38 | 125 | 23754.98 | 23119.4921
38RCLC-QS4 | 38RCLC, 3 PH, 480V, UL, CSA | 38 | 60 | 23754.98 | 23119.4921
38RCLC-QS50 | 38RCLC, 1 PH, 240V, UL, CSA, Blk Heater | 38 | 175 | 23550.98 | 22974.5921
48RCLC-QS5 | 48RCLC, 1 PH, 240V, UL, CSA | 48 | 200 | 26202.98 | 25520.8563
48RCLC-QS6 | 48RCLC, 3 PH, 208V, UL, CSA | 48 | 175 | 26559.98 | 25842.8563
48RCLC-QS7 | 48RCLC, 3 PH, 240V, UL, CSA | 48 | 150 | 26559.98 | 25842.8563
48RCLC-QS8 | 48RCLC, 3 PH, 480V, UL, CSA | 48 | 80 | 26559.98 | 25842.8563
48RCLC-QS51 | 48RCLC, 1 PH, 240V, UL, CSA, Blk Heater | 48 | 200 | 26355.98 | 25697.9562
60RCLB-QS5 | 60RCLB, 1 PH, 240V, UL, CSA | 60 | 250 | 28803.98 | 28356.538
60RCLB-QS6 | 60RCLB, 3 PH, 208V, UL, CSA | 60 | 225 | 29160.98 | 28678.538
60RCLB-QS7 | 60RCLB, 3 PH, 240V, UL, CSA | 60 | 200 | 29160.98 | 28678.538
60RCLB-QS8 | 60RCLB, 3 PH, 480V, UL, CSA | 60 | 100 | 29160.98 | 28678.538
60RCLB-QS51 | 60RCLB, 1 PH, 240V, UL, CSA, Blk Heater | 60 | 250 | 28956.98 | 28533.638
LIQUID-COOLED AUTOMATIC STANDBY GENERATOR, NG/LP, Color: Kohler Cashmere
Standard Features: UL2200/CSA, Sound Shield, 45C Unit Mounted Radiator, Standard Air Intake, APM402 Controller, Flexible Fuel Lines, 12V-6A Battery Charger, Additional Gas Solenoid Valve, Rodent Guards, Silencer, Coolant in generator, Block Heater installed and 5-Year Basic Warranty,Factory Set for NG, Field Convertible to LP.
KG80R-QS | KG80R, 1 PH, 120/240, 4T9X Alternator, Steel Enclosure | 80 | 350 | 34464.98 | 34104.2621
KG80R-QS1 | KG80R, 1 PH, 120/240, 4T9X Alternator, Aluminum Enclosure | 80 | 350 | 35433.98 | 35070.2621
KG80R-QS2 | KG80R, 3 Ph, 120/208, 4R9X Alternator, Steel Enclosure | 80 | 300 | 34770.98 | 34426.2621
KG80R-QS3 | KG80R, 3 Ph, 120/240, 4R9X Alternator, Steel Enclosure | 80 | 250 | 34770.98 | 34426.2621
KG80R-QS4 | KG80R, 3 Ph, 277/480, 4R9X Alternator, Steel Enclosure | 80 | 125 | 34770.98 | 34426.2621
KG80R-QS5 | KG80R, 3 Ph, 120/208, 4R9X Alternator, Aluminum Enclosure | 80 | 300 | 35790.98 | 35392.2621
KG80R-QS6 | KG80R, 1 PH, 120/240, 4T9X Alternator, Steel Enclosure, w/Catalyst, CA/MA Compliant | 80 | 350 | 35178.98 | 34788.5121
KG80R-QS7 | KG80R, 1 PH, 120/240, 4T9X Alternator, Aluminum Enclosure, w/Catalyst, CA/MA Compliant | 80 | 350 | 36147.98 | 35754.5121
KG80R-QS8 | KG80R, 3 Ph, 120/208, 4R9X Alternator, Steel Enclosure, w/Catalyst, CA/MA Compliant | 80 | 300 | 35484.98 | 35110.5121
KG80R-QS20 | KG80R, 1PH, 120/240, 4T9X Alternator, Aluminum Enclosure, Auto Dual Fuel | 80 | 300 | 36555.98 | 36197.2621
KG80R-QS21 | KG80R, 1PH, 120/240, 4T9X Alternator, Aluminum Enclosure, Auto Dual Fuel, CA/MA Compliant | 80 | 300 | 37269.98 | 36881.5121
KG100R-QS | KG100R, 1 PH, 120/240, 4T13X Alternator, Steel Enclosure, CA/MA Compliant | 100 | 600 | 41400.98 | 39461.7988
KG100R-QS1 | KG100R, 1 PH, 120/240, 4T13X Alternator, Aluminum Enclosure, CA/MA Compliant | 100 | 600 | 42624.98 | 40427.7988
KG100R-QS2 | KG100R, 3 Ph, 120/208, 4R12X Alternator, Steel Enclosure, CA/MA Compliant | 100 | 350 | 41961.98 | 39783.7988
KG100R-QS3 | KG100R, 3 Ph, 120/240, 4R12X Alternator, Steel Enclosure, CA/MA Compliant | 100 | 300 | 41961.98 | 39783.7988
KG100R-QS4 | KG100R, 3 Ph, 277/480, 4R12X Alternator, Steel Enclosure, CA/MA Compliant | 100 | 150 | 41961.98 | 39783.7988
KG100R-QS5 | KG100R, 3 Ph, 120/208, 4R12X Alternator, Aluminum Enclosure, CA/MA Compliant | 100 | 350 | 42981.98 | 40749.7988
KG100R-QS6 | KG100R, 3Ph, 600V, Aluminum Enclosure, 12V Run Relay, 2/5 IO | 100 | 125 | 42981.98 | 40749.7988
KG100R-QS20 | KG100R, 1PH, 120/240, 4T13X Alternator, Aluminum, Auto Dual Fuel, CA/MA Compliant | 100 | 350 | 43797.98 | 41554.7988
KG125R-QS | KG125R, 1 PH, 120/240, 4T13X Alternator, Steel Enclosure | 125 | 600 | 44154.98 | 43644.3574
KG125R-QS1 | KG125R, 1 PH, 120/240, 4T13X Alternator, Aluminum Enclosure | 125 | 600 | 45174.98 | 44610.3574
KG125R-QS2 | KG125R, 3 Ph, 120/208, 4R13X Alternator, Steel Enclosure | 125 | 600 | 44460.98 | 43966.3574
KG125R-QS3 | KG125R, 3 Ph, 120/240, 4R13X Alternator, Steel Enclosure | 125 | 400 | 44460.98 | 43966.3574
KG125R-QS4 | KG125R, 3 Ph, 277/480, 4R13X Alternator, Steel Enclosure | 125 | 200 | 44460.98 | 43966.3574
KG125R-QS5 | KG125R, 3 Ph, 120/208, 4R13X Alternator, Aluminum Enclosure | 125 | 600 | 45480.98 | 44932.3574
150ERESC-QS8 | 150ERESC, 1 PH, 120/240, 4T13X Alternator, Steel Enclosure | 150 | 600 | 52416.98 | 52111.7901
150ERESC-QS9 | 150ERESC, 1 PH, 120/240, 4T13X Alternator, Aluminum Enclosure | 150 | 600 | 53610.38 | 53077.7901
150ERESC-QS10 | 150ERESC, 3 Ph, 120/208, 4S13X Alternator, Aluminum Enclosure | 150 | 600 | 53946.98 | 53399.7901
150ERESC-QS11 | 150ERESC, 3Ph, 600V, Aluminum Enclosure, 12V Run Relay, 2/5 IO | 150 | 225 | 53946.98 | 53399.7901
150ERESC-MV10 | 150ERESC, 3 Ph, 120/208, 4S13X Alternator, Steel Enclosure | 150 | 600 | 52926.98 | 52433.7901
150ERESC-MV11 | 150ERESC, 3 Ph, 120/240, 4S13X Alternator, Steel Enclosure | 150 | 600 | 52926.98 | 52433.7901
150ERESC-MV12 | 150ERESC, 3 Ph, 277/480. 4S13X Alternator, Steel Enclosure | 150 | 250 | 52926.98 | 52433.7901

## CAN Generators
Residential Price List — Canada Generators
Effective 2026-02-02 · USD & CAD pricing
Specification # | Description | Standby (kW) | LCB (Amp) | MSRP (USD) | MSRP (CAD)
RESIDENTIAL GENERATOR PRICE LIST
Standard Features: UL2200/CSA Approval, Battery Cables, Fuel Solenoid Valve & Secondary Regulator, Oil Drain Extension With Shutoff Valve, Rodent-Resistant Construction, Critical Silencer, Sound-Deadening, Flame-Retardant Sound Shield Foam, Carb- And EPA-Certified Fuel System, Flex Fuel Line, Easy-Connect Terminal Block, Five-Year Comprehensive Warranty, Factory Set for NG, Field Convertible to LP, OnCue Plus
10RESV-QS8 | 10RESV, 1 PH, 240V, UL/cUL | 10 | 50 | 3834 | 5252.58
10RESVL-100LC12 | 10RESVL,RXT 100 Amp, LC-12 spaces, NEMA1 | 10 | 50
12RES-QS11 | 12RES, 1 PH, 120/240V, UL/cUL (No OnCue Plus on ADC Controller) | 12 | 40 | 5660 | 7754.2
12RESV-QS8 | 12RESV, 1 PH, 240V, UL/cUL | 12 | 60 | 4283 | 5867.71
12RESVL-100LC12 | 12RESVL,RXT 100 Amp, LC-12 spaces, NEMA1 | 12 | 60
14RCA-QS6 | 14RCA, 1 PH, 240V, cUL/US, CSA | 14 | 70 | 4997 | 6845.89
14RCA-QS7 | 14RCA, 3 PH, 208V, cUL, CSA | 14 | 50 | 5303 | 7265.11
14RCA-QS8 | 14RCA, 3 PH, 240V, cUL, CSA | 14 | 50 | 5303 | 7265.11
14RCA-QS9 | 14RCA, 3 PH, 480V, cUL, CSA | 14 | 25 | 5303 | 7265.11
14RCA-QS5 | 14RCA, Shadow Grass, 1PH, 60hz,240V, cUL | 14 | 70 | 6119 | 8383.03
14RCA-QS10 | 14RCA, Break-Up Ctry, 1PH,60hz,240V, cUL | 14 | 70 | 6119 | 8383.03
14RCA-QS200 | 14RCA, Pegasus, 1PH, 60Hz, 240V, cUL | 14 | 70 | 5557.98 | 7614.4326
14RCA-QS201 | 14RCA, French Gray, 1PH, 60Hz, 240V, cUL | 14 | 70 | 5557.98 | 7614.4326
14RCA-QS202 | 14RCA, Dover Gray, 1 PH, 60Hz, 240V, cUL | 14 | 70 | 5557.98 | 7614.4326
14RCA-QS203 | 14RCA, Pigeon Fthr, 1PH, 60Hz, 240V, cUL | 14 | 70 | 5557.98 | 7614.4326
14RCA-QS204 | 14RCA, Nevergreen, 1 PH, 60Hz, 240V, cUL | 14 | 70 | 5557.98 | 7614.4326
14RCA-QS205 | 14RCA, Admiralty, 1 PH, 60Hz, 240V, cUL | 14 | 70 | 5557.98 | 7614.4326
14RCA-QS206 | 14RCA, Canyon Blue, 1PH, 60Hz, 240V, cUL | 14 | 70 | 5557.98 | 7614.4326
14RCA-QS207 | 14RCA, Hunter Green, 1PH, 60Hz,240V, cUL | 14 | 70 | 5557.98 | 7614.4326
14RCA-QS208 | 14RCA, Brick Dust, 1 PH, 60Hz, 240V, cUL | 14 | 70 | 5557.98 | 7614.4326
AIR-COOLED AUTOMATIC STANDBY GENERATOR, NG/LP, COLOR : KOHLER CASHMERE (CON'T)
Standard Features: UL2200/CSA Approval, Battery Cables, Fuel Solenoid Valve & Secondary Regulator, Oil Drain Extension With Shutoff Valve, Rodent-Resistant Construction, Critical Silencer, Sound-Deadening, Flame-Retardant Sound Shield Foam, Carb- And EPA-Certified Fuel System, Flex Fuel Line, Easy-Connect Terminal Block, Five-Year Comprehensive Warranty, Factory Set for NG, Field Convertible to LP, OnCue Plus
14RCAL-200SELS | 14RCAL,RXT 200 Amp,SE,Load Shed,NEMA 3R | 14 | 70 | 5145
14RCAL-100LC16 | 14RCA, 1 PH, 240V, cUL, RXT 100 AMP | 14 | 70 | 4885
20RCA-QS6 | 20RCA, 1 PH, 240V, cUL/US, CSA | 20 | 100 | 5812.98 | 7963.7826
20RCA-QS7 | 20RCA, 3 PH, 208V, cUL/US, CSA | 20 | 70 | 6118.98 | 8383.0026
20RCA-QS8 | 20RCA, 3 PH, 240V, cUL/US, CSA | 20 | 60 | 6118.98 | 8383.0026
20RCA-QS9 | 20RCA, 3 PH, 480V, cUL/US, CSA | 20 | 30 | 6118.98 | 8383.0026
20RCA-QS5 | 20RCA, Shadow Grass, 1PH, 60hz,240V, cUL | 20 | 100 | 6934.98 | 9500.9226
20RCA-QS10 | 20RCA, Break-Up Ctry, 1PH,60hz,240V, cUL | 20 | 100 | 6934.98 | 9500.9226
20RCA-QS200 | 20RCA, Pegasus, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCA-QS201 | 20RCA, French Gray, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCA-QS202 | 20RCA, Dover Gray, 1 PH, 60Hz, 240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCA-QS203 | 20RCA, Pigeon Fthr, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCA-QS204 | 20RCA, Nevergreen, 1 PH, 60Hz, 240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCA-QS205 | 20RCA, Admiralty, 1 PH, 60Hz, 240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCA-QS206 | 20RCA, Canyon Blue, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCA-QS207 | 20RCA, Hunter Green, 1PH, 60Hz,240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCA-QS208 | 20RCA, Brick Dust, 1PH, 60Hz, 240V, cUL | 20 | 100 | 6424.98 | 8802.2226
20RCAL-200SELS | 20RCAL, RXT 200 A SE, N3R, w/LOAD Man | 20 | 100
20RESCL-200SELS | 20RESCL, RXT 200 Amp, SE, Load Shed Kit, NEMA 3R | 20 | 100
AIR-COOLED AUTOMATIC STANDBY GENERATOR, NG/LP, COLOR : KOHLER CASHMERE (CON'T)
Standard Features: UL2200/CSA Approval, Battery Cables, Fuel Solenoid Valve & Secondary Regulator, Oil Drain Extension With Shutoff Valve, Rodent-Resistant Construction, Critical Silencer, Sound-Deadening, Flame-Retardant Sound Shield Foam, Carb- And EPA-Certified Fuel System, Flex Fuel Line, Easy-Connect Terminal Block, Five-Year Comprehensive Warranty, Factory Set for NG, Field Convertible to LP, OnCue Plus
26RCA-QS1 | 26RCA, 1 PH, 240V, cUL, CSA | 26 | 110 | 7444.98 | 10199.6226
26RCA-QS2 | 26RCA, 3 PH, 208V, cUL, CSA | 26 | 110 | 7750.98 | 10618.8426
26RCA-QS3 | 26RCA, 3 PH, 240V, cUL, CSA | 26 | 110 | 7750.98 | 10618.8426
26RCA-QS4 | 26RCA, 3 PH, 480V, cUL, CSA | 26 | 110 | 7750.98 | 10618.8426
26RCA-QS50 | 26RCA, 1 PH, 240V, cUL, CSA, Cold Weather Kit | 26 | 110 | 7852.98 | 10758.5826
26RCA-QS5 | 26RCA, Shadow Grass, 1PH, 60hz,240V, cUL | 26 | 110 | 8566.98 | 11736.7626
26RCA-QS10 | 26RCA, Break-Up Ctry, 1PH,60hz,240V, cUL | 26 | 110 | 8566.98 | 11736.7626
26RCA-QS200 | 26RCA, Pegasus, 1PH, 60hz, 240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCA-QS201 | 26RCA, French Gray, 1PH, 60hz,240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCA-QS202 | 26RCA, Dover Gray, 1PH, 60hz, 240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCA-QS203 | 26RCA, Pigeon Fthr, 1PH, 60hz,240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCA-QS204 | 26RCA, Nevergreen, 1PH, 60hz, 240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCA-QS205 | 26RCA, Admiralty, 1PH, 60hz, 240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCA-QS206 | 26RCA, Canyon Blue, 1PH, 60hz, 240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCA-QS207 | 26RCA, Hunter Green, 1PH, 60hz,240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCA-QS208 | 26RCA, Brick Dust, 1PH, 60hz, 240V, cUL | 26 | 110 | 8107.98 | 11107.9326
26RCAL-200SELS | 26RCAL, RXT 200 Amp, SE, N3R, w/LOAD Man | 26 | 125 | 7340
LIQUID-COOLED AUTOMATIC STANDBY GENERATOR, NG/LP, Color: Kohler Cashmere
Standard Features: UL2200/CSA, 60 Hz, Aluminum Sound Shield, Unit Mounted Radiator, Standard Air Intake, RDC2 Controller which includes a 2.5AMP Battery Charger, Flexible Fuel Lines, Coolant in generator, 45 C Cooling System and 5-Year Comprehensive Warranty, Factory Set for NG, Field Convertible to LP, OnCue Plus
24RCLA-QS1 | 24RCLA, 1 PH, 240V, UL, CSA | 24 | 100 | 17899.98 | 24522.9726
24RCLA-QS2 | 24RCLA, 3 PH, 208V, UL, CSA | 24 | 90 | 18256.98 | 25012.0626
24RCLA-QS3 | 24RCLA, 3 PH, 240V, UL, CSA | 24 | 80 | 18256.98 | 25012.0626
24RCLA-QS4 | 24RCLA, 3 PH, 480V, UL, CSA | 24 | 40 | 18256.98 | 25012.0626
24RCLA-QS50 | 24RCLA, 1 PH, 240V, UL, CSA, Blk Heater | 24 | 100 | 18256.98 | 25012.0626
30RCLA-QS1 | 30RCLA, 1 PH, 240V, UL, CSA | 30 | 150 | 20398.98 | 27946.6026
30RCLA-QS2 | 30RCLA, 3 PH, 208V, UL, CSA | 30 | 125 | 20755.98 | 28435.6926
30RCLA-QS3 | 30RCLA, 3 PH, 240V, UL, CSA | 30 | 100 | 20755.98 | 28435.6926
30RCLA-QS4 | 30RCLA, 3 PH, 480V, UL, CSA | 30 | 50 | 20755.98 | 28435.6926
30RCLA-QS50 | 30RCLA, 1 PH, 240V, UL, CSA, Blk Heater | 30 | 150 | 20551.98 | 28156.2126
38RCLC-QS1 | 38RCLC, 1 PH, 240V, UL, CSA | 38 | 175 | 22948.98 | 31440.1026
38RCLC-QS2 | 38RCLC, 3 PH, 208V, UL, CSA | 38 | 150 | 23254.98 | 31859.3226
38RCLC-QS3 | 38RCLC, 3 PH, 240V, UL, CSA | 38 | 125 | 23254.98 | 31859.3226
38RCLC-QS4 | 38RCLC, 3 PH, 480V, UL, CSA | 38 | 60 | 23254.98 | 31859.3226
38RCLC-QS50 | 38RCLC, 1 PH, 240V, UL, CSA, Blk Heater | 38 | 175 | 23050.98 | 31579.8426
48RCLC-QS5 | 48RCLC, 1 PH, 240V, UL, CSA | 48 | 200 | 25702.98 | 35213.0826
48RCLC-QS6 | 48RCLC, 3 PH, 208V, UL, CSA | 48 | 175 | 26059.98 | 35702.1726
48RCLC-QS7 | 48RCLC, 3 PH, 240V, UL, CSA | 48 | 150 | 26059.98 | 35702.1726
48RCLC-QS8 | 48RCLC, 3 PH, 480V, UL, CSA | 48 | 80 | 26059.98 | 35702.1726
48RCLC-QS51 | 48RCLC, 1 PH, 240V, UL, CSA, Blk Heater | 48 | 200 | 25855.98 | 35422.6926
60RCLB-QS5 | 60RCLB, 1 PH, 240V, UL, CSA | 60 | 250 | 28303.98 | 38776.4526
60RCLB-QS6 | 60RCLB, 3 PH, 208V, UL, CSA | 60 | 225 | 28660.98 | 39265.5426
60RCLB-QS7 | 60RCLB, 3 PH, 240V, UL, CSA | 60 | 200 | 28660.98 | 39265.5426
60RCLB-QS8 | 60RCLB, 3 PH, 480V, UL, CSA | 60 | 100 | 28660.98 | 39265.5426
60RCLB-QS51 | 60RCLB, 1 PH, 240V, UL, CSA, Blk Heater | 60 | 250 | 28456.98 | 38986.0626
LIQUID-COOLED AUTOMATIC STANDBY GENERATOR, NG/LP, Color: Kohler Cashmere
Standard Features: UL2200/CSA, Sound Shield, 45C Unit Mounted Radiator, Standard Air Intake, APM402 Controller, Flexible Fuel Lines, 12V-6A Battery Charger, Additional Gas Solenoid Valve, Rodent Guards, Silencer, Coolant in generator, Block Heater installed and 5-Year Basic Warranty, Factory Set for NG, Field Convertible to LP.
KG80R-QS | KG80R, 1 PH, 120/240, 4T9X Alternator, Steel Enclosure | 80 | 350 | 33964.98 | 46532.0226
KG80R-QS1 | KG80R, 1 PH, 120/240, 4T9X Alternator, Aluminum Enclosure | 80 | 350 | 34933.98 | 47859.5526
KG80R-QS2 | KG80R, 3 Ph, 120/208, 4R9X Alternator, Steel Enclosure | 80 | 300 | 34270.98 | 46951.2426
KG80R-QS3 | KG80R, 3 Ph, 120/240, 4R9X Alternator, Steel Enclosure | 80 | 250 | 34270.98 | 46951.2426
KG80R-QS4 | KG80R, 3 Ph, 277/480, 4R9X Alternator, Steel Enclosure | 80 | 125 | 34270.98 | 46951.2426
KG80R-QS5 | KG80R, 3 Ph, 120/208, 4R9X Alternator, Aluminum Enclosure | 80 | 300 | 35290.98 | 48348.6426
KG80R-QS6 | KG80R, 1 PH, 120/240, 4T9X Alternator, Steel Enclosure, w/Catalyst, CA/MA Compliant | 80 | 350 | 34678.98 | 47510.2026
KG80R-QS7 | KG80R, 1 PH, 120/240, 4T9X Alternator, Aluminum Enclosure, w/Catalyst, CA/MA Compliant | 80 | 350 | 35647.98 | 48837.7326
KG80R-QS8 | KG80R, 3 Ph, 120/208, 4R9X Alternator, Steel Enclosure, w/Catalyst, CA/MA Compliant | 80 | 300 | 34984.98 | 47929.4226
KG80R-QS20 | KG80R, 1PH, 120/240, 4T9X Alternator, Aluminum Enclosure, Auto Dual Fuel | 80 | 300 | 36055.98 | 49396.6926
KG80R-QS21 | KG80R, 1PH, 120/240, 4T9X Alternator, Aluminum Enclosure, Auto Dual Fuel, CA/MA Compliant | 80 | 300 | 36769.98 | 50374.8726
KG100R-QS | KG100R, 1 PH, 120/240, 4T13X Alternator, Steel Enclosure, CA/MA Compliant | 100 | 600 | 40900.98 | 56034.3426
KG100R-QS1 | KG100R, 1 PH, 120/240, 4T13X Alternator, Aluminum Enclosure, CA/MA Compliant | 100 | 600 | 42124.98 | 57711.2226
KG100R-QS2 | KG100R, 3 Ph, 120/208, 4R12X Alternator, Steel Enclosure, CA/MA Compliant | 100 | 350 | 41461.98 | 56802.9126
KG100R-QS3 | KG100R, 3 Ph, 120/240, 4R12X Alternator, Steel Enclosure, CA/MA Compliant | 100 | 300 | 41461.98 | 56802.9126
KG100R-QS4 | KG100R, 3 Ph, 277/480, 4R12X Alternator, Steel Enclosure, CA/MA Compliant | 100 | 150 | 41461.98 | 56802.9126
KG100R-QS5 | KG100R, 3 Ph, 120/208, 4R12X Alternator, Aluminum Enclosure, CA/MA Compliant | 100 | 350 | 42481.98 | 58200.3126
KG100R-QS6 | KG100R, 3Ph, 600V, Aluminum Enclosure, 12V Run Relay, 2/5 IO | 100 | 125 | 42481.98 | 58200.3126
KG100R-QS20 | KG100R, 1PH, 120/240, 4T9X Alternator, Aluminum, Auto Dual Fuel, CA/MA Compliant | 100 | 350 | 43297.98 | 59318.2326
KG125R-QS | KG125R, 1 PH, 120/240, 4T13X Alternator, Steel Enclosure | 125 | 600 | 43654.98 | 59807.3226
KG125R-QS1 | KG125R, 1 PH, 120/240, 4T13X Alternator, Aluminum Enclosure | 125 | 600 | 44674.98 | 61204.7226
KG125R-QS2 | KG125R, 3 Ph, 120/208, 4R13X Alternator, Steel Enclosure | 125 | 600 | 43960.98 | 60226.5426
KG125R-QS3 | KG125R, 3 Ph, 120/240, 4R13X Alternator, Steel Enclosure | 125 | 400 | 43960.98 | 60226.5426
KG125R-QS4 | KG125R, 3 Ph, 277/480, 4R13X Alternator, Steel Enclosure | 125 | 200 | 43960.98 | 60226.5426
KG125R-QS5 | KG125R, 3 Ph, 120/208, 4R13X Alternator, Aluminum Enclosure | 125 | 600 | 44980.98 | 61623.9426
150ERESC-QS8 | 150ERESC, 1 PH, 120/240, 4T13X Alternator, Steel Enclosure | 150 | 600 | 51916.98 | 71126.2626
150ERESC-QS9 | 150ERESC, 1 PH, 120/240, 4T13X Alternator, Aluminum Enclosure | 150 | 600 | 53110.38 | 72761.2206
150ERESC-QS10 | 150ERESC, 3 Ph, 120/208, 4S13X Alternator, Aluminum Enclosure | 150 | 600 | 53446.98 | 73222.3626
150ERESC-QS11 | 150ERESC, 3Ph, 600V, Aluminum Enclosure, 12V Run Relay, 2/5 IO | 150 | 225 | 53446.98 | 73222.3626
150ERESC-MV10 | 150ERESC, 3 Ph, 120/208, 4S13X Alternator, Steel Enclosure | 150 | 600 | 52426.98 | 71824.9626
150ERESC-MV11 | 150ERESC, 3 Ph, 120/240, 4S13X Alternator, Steel Enclosure | 150 | 600 | 52426.98 | 71824.9626
150ERESC-MV12 | 150ERESC, 3 Ph, 277/480. 4S13X Alternator, Steel Enclosure | 150 | 250 | 52426.98 | 71824.9626

## US ATS
Residential Price List — US Automatic Transfer Switches
Effective 2026-02-02 · USD
Specification # | Amps | Phase | Voltage | Poles/Wire | Encl Type | Encl Material | Load Center | Service Entrance | UL | cUL | CSA | Combined Board w/Load Shed | Compatible with Load Shed Kit | MSRP | Total Cost to Customer
RESIDENTIAL ATS PRICE LIST
RDT-CFNC-0100A-QS7 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  | X |  | X | 799 | 713.184
RDT-CFNC-0200A-QS7 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  | X |  | X | 1099 | 980.352
RDT-CFNC-0200B-QS7 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum | 24 |  | X | X |  |  |  | 1349 | 1212.928
RDT-CFNC-400A-QS10 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  |  |  | X | 2239 | 1909.184
RDT-CFNC-400A-QS11 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  |  |  | X |  | X | 2289 | 1951.136
RDT-CFNC-200ASEQS4 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  |  | X | 1459 | 1315.232
RDT-CFNC-200BSEQS3 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum | 42 | X | X |  |  |  |  | 1539 | 1388.096
RDT-CFNC-400ASEQS5 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  |  | X | 3709 | 3167.744
RXT-JFNC-0100B-QS4 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum | 16 |  | X |  |  |  |  | 639 | 564.512
RXT-JFNC-0100A-QS7 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  | X | X |  | 599 | 533.6
RXT-JFNC-0200A-QS7 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  | X | X |  | 789 | 709.504
RXT-JFNC-0400A-QS4 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  |  | X |  | 2119 | 1898.88
RXT-JFNC-400A-MV07 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  |  |  | X | X |  | 2019 | 1720.032
RXT-JFNC-100ASEQS4 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X |  | 719 | 640.32
RXT-JFNC-150ASEQS3 | 150 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X |  | 939 | 839.04
RXT-JFNC-200ASEQS5 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X |  | 969 | 872.896
RXT-JFNC-300ASEQS4 | 300 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X |  | 3339 | 3003.616
RXT-JFNC-400ASEQS3 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X |  | 3519 | 3003.616
RXT-JFNC-400CSEQS | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X |  |  | X | X |  | 3519 | 3003.616
RXT-JFNC-100CSEQS3 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X |  |  | X | X |  | 909 | 816.224
RXT-JFNC-200CSEQS3 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X |  |  | X | X |  | 1129 | 1010.528
3 Phase - UL
RXT-JCTC-0100A-QS4 | 100 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 1269 | 1136.384
RXT-JFTC-0100A-QS4 | 100 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 1269 | 1136.384
RXT-JMTC-0100A-QS4 | 100 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 1269 | 1136.384
RXT-JCTC-0200A-QS4 | 200 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 1409 | 1265.92
RXT-JFTC-0200A-QS4 | 200 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 1409 | 1265.92
RXT-JMTC-0200A-QS4 | 200 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 1519 | 1364.544
RXT-JCTC-400A-MV06 | 400 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 2379 | 2031.36
RXT-JFTC-400A-MV06 | 400 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 2379 | 2031.36
RXT-JMTC-0400A-QS3 | 400 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  |  |  |  | 2659 | 2269.088
3 Phase - CSA
RXT-JCTC-100A-MV03 | 100 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 1269 | 1136.384
RXT-JFTC-100A-MV03 | 100 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 1269 | 1136.384
RXT-JMTC-100A-MV04 | 100 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 1269 | 1136.384
RXT-JCTC-200A-MV03 | 200 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 1409 | 1265.92
RXT-JFTC-200A-MV03 | 200 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 1409 | 1265.92
RXT-JMTC-200A-MV04 | 200 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 1519 | 1365.28
RXT-JCTC-400A-MV07 | 400 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 2379 | 2031.36
RXT-JFTC-400A-MV07 | 400 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 2379 | 2031.36
RXT-JMTC-400A-MV04 | 400 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X |  |  | 2659 | 2269.088
KUS/KSS
KUS-DFNC-400WS-QS1 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Steel |  | X | X | X |  |  |  | 12199 | 9161.728
KUS-DCTC-400WS-QS1 | 400 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  | X | X | X |  |  |  | 12689 | 9529.728
KUS-DFNC-600WS-QS1 | 600 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Steel |  | X | X | X |  |  |  | 17389 | 13055.904
KUS-DCTC-600WS-QS1 | 600 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  | X | X | X |  |  |  | 17779 | 13350.304
KUS-DFNC-800WS-QS1 | 800 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Steel |  | X | X | X |  |  |  | 25929 | 19467.936
KUS-DCTC-800WS-QS1 | 800 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  | X | X | X |  |  |  | 26319 | 19762.336
KSS-ACTC-0400S-QS2 | 400 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel | [7 empty] | 6279 | 4714.816
KSS-ACTC-0600S-QS1 | 600 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  |  | X |  | X |  |  | 9139 | 6858.784
KSS-ACTC-0800S-QS1 | 800 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  |  | X |  | X |  |  | 10659 | 8004
KSS-AFTC-0800S-QS1 | 800 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Steel |  |  | X |  | X |  |  | 10659 | 8004
KSS-AFNC-0600S-QS1 | 600 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Steel |  |  | X |  |  |  |  | 8579 | 6437.056

## CAN ATS
Residential Price List — Canada Automatic Transfer Switches
Effective 2026-02-02 · USD & CAD pricing
Specification # | Amps | Phase | Voltage | Poles/Wire | Encl Type | Encl Material | Load Center | Service Entrance | UL | cUL | CSA | Combined Board w/Load Shed | Compatible with Load Shed Kit | MSRP (USD) | MSRP (CAD)
RESIDENTIAL ATS PRICE LIST
RDT-CFNC-0100A-QS7 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  | X |  | X
RDT-CFNC-0200A-QS7 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  | X |  | X
RDT-CFNC-0200B-QS7 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum | 24 |  | X | X
RDT-CFNC-400A-QS10 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  |  |  | X
RDT-CFNC-400A-QS11 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  |  |  | X |  | X
RXT-JFNC-0100A-QS7 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  | X | X
RXT-JFNC-0200A-QS7 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  | X | X
RXT-JFNC-0400A-QS5 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  | X |  |  | X
RXT-JFNC-400A-MV07 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  |  |  |  | X | X
RXT-JFNC-100ASEQS4 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X
RXT-JFNC-150ASEQS3 | 150 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X
RXT-JFNC-200ASEQS4 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X
RXT-JFNC-300ASEQS4 | 300 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X
RXT-JFNC-400ASEQS4 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X | X |  |  | X
RXT-JFNC-400CSEQS | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X |  |  | X | X
RXT-JFNC-100CSEQS3 | 100 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X |  |  | X | X
RXT-JFNC-200CSEQS3 | 200 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Aluminum |  | X |  |  | X | X
3 Phase - UL
RXT-JCTC-0100A-QS4 | 100 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JFTC-0100A-QS4 | 100 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JMTC-0100A-QS4 | 100 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JCTC-0200A-QS4 | 200 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JFTC-0200A-QS4 | 200 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JMTC-0200A-QS3 | 200 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JCTC-400A-MV06 | 400 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JFTC-400A-MV06 | 400 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JMTC-0400A-QS3 | 400 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JCVC-100A-MV06 | 100 | 3Ph | 208V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JFVC-100A-MV06 | 100 | 3Ph | 240V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JMVC-100A-MV06 | 100 | 3Ph | 480V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JCVC-200A-MV06 | 200 | 3Ph | 208V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JFVC-200A-MV06 | 200 | 3Ph | 240V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JMVC-200A-MV06 | 200 | 3Ph | 480V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JCVC-400A-MV06 | 400 | 3Ph | 208V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JFVC-400A-MV06 | 400 | 3Ph | 240V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
RXT-JMVC-400A-MV06 | 400 | 3Ph | 480V | 4Pole/4Wire | NEMA 3R | Aluminum |  |  | X
3 Phase - CSA
RXT-JCTC-100A-MV03 | 100 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
RXT-JFTC-100A-MV03 | 100 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
RXT-JMTC-100A-MV04 | 100 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
RXT-JCTC-200A-MV03 | 200 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
RXT-JFTC-200A-MV03 | 200 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
RXT-JMTC-200A-MV04 | 200 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
RXT-JCTC-400A-MV07 | 400 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
RXT-JFTC-400A-MV07 | 400 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
RXT-JMTC-400A-MV04 | 400 | 3Ph | 480V | 3Pole/4Wire | NEMA 3R | Aluminum |  |  | X |  | X
KUS/KSS
KUS-DFNC-400WS-QS1 | 400 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Steel |  | X | X | X
KUS-DCTC-400WS-QS1 | 400 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  | X | X | X
KUS-DFNC-600WS-QS1 | 600 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Steel |  | X | X | X
KUS-DCTC-600WS-QS1 | 600 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  | X | X | X
KUS-DFNC-800WS-QS1 | 800 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Steel |  | X | X | X
KUS-DCTC-800WS-QS1 | 800 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  | X | X | X
KSS-ACTC-0400S-QS2 | 400 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel
KSS-ACTC-0600S-QS1 | 600 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  |  | X |  | X
KSS-ACTC-0800S-QS1 | 800 | 3Ph | 208V | 3Pole/4Wire | NEMA 3R | Steel |  |  | X |  | X
KSS-AFTC-0800S-QS1 | 800 | 3Ph | 240V | 3Pole/4Wire | NEMA 3R | Steel |  |  | X |  | X
KSS-AFNC-0600S-QS1 | 600 | 1Ph | 240V | 2Pole/3Wire | NEMA 3R | Steel |  |  | X

## Accessories
Residential Price List — Accessories
Effective 5/10/2024 · USD
Air-Cooled Accessories
NEW Part Number | Old Part Number | Description | MSRP | 6VSG | 8.5RES | 12RES | 8/10/12RESV(L) | 8RESV(L) | 10/12RESV(L) | 14RES(L) | 14RCA(L) | 14RESA(L) | 20RCA(L) | 20RESC(L) | 26RCA | Total Cost to Customer
GM85144-KP1-QS | GM85144-1 | PowerSync® Automatic Paralleling Module (APM) | 2850 | [6 empty] | X | X | X | X | X | X | 2584.1856
GM86368-KP1-QS | GM86368-S1 | Circuit Breaker Kit - 14Kw (70 Amp) | 103.5362 | [6 empty] | X | X | X |  |  |  | 110.078
GM86369-KP1-QS | GM86369-S1 | Circuit Breaker Kit - 20kW (100 Amp) | 138.1055 | [9 empty] | X | X | X | 146.8315
GM92001-KP1-QS | GM92001-1 | Power Relay Module (PRM) | 133.6378 |  |  |  | X |  |  | X | X | X | X | X | X | 142.0815
GM81529-KP1-QS | GM81529-S1 | Programmable Interface Module (PIM) (UL) | 340.1122 |  |  |  | X |  |  | X | X | X | X | X | X | 361.6017
GM81529-KP2-QS | GM81529-S2 | Programmable Interface Module (PIM) (CSA) | 344.1131 |  |  |  | X |  |  | X | X | X | X | X | X | 365.8553
GM17250-KP1-QS | GM17250-S1 | 400 Amp Current Transformer – Larger Inner Diameter (for use with LCM or Load Shed kit, if required) | 153.901 |  |  |  | X |  |  | X | X | X | X | X |  | 163.625
GM114539-KP1-QS | GM114539-S1 | OnCue Plus- Wireless Radio Kit | 172.83 | X |  |  | X | X | X | X | X | X | X | X | X | 183.75
GM19462-KP4-QS | GM19462-S4 | Carburetor Heater 120V | 155.547 | X | X | X |  |  |  | X | X | X |  |  |  | 165.375
GM19462-KP3-QS | GM19462-S3 | Carburetor Heater, 240V | 175.8151 | [6 empty] | X | X | X |  |  |  | 186.9237
GM57969-KP5-QS | GM57969-S5 | Carburetor Heater, 40W, 120V | 155.547 |  |  |  | X | [5 empty] | X | X | X | 165.375
GM57969-KP3-QS | GM57969-S3 | Carburetor Heater, 240V | 155.5217 | [9 empty] | X | X |  | 165.3481
GM79141-KP3-QS | GM79141-S | Fuel Regulator Heater, 120V | 255.953 | [9 empty] | X | X | X | 272.125
GM79141-KP2-QS | GM79141-S2 | Fuel Regulator Heater, 240V | 259.5258 | [9 empty] | X | X |  | 275.9236
GM92406-KP3-QS | GM92406-S3 | Battery Heater, 120V | 209.865 |  |  | X | X |  |  | X | X |  | X | X |  | 223.125
GM92406-KP2-QS | GM92406-S2 | Battery Heater, 240V | 230.4795 | [6 empty] | X |  |  | X | X | X | 245.042
GM106374-S |  | Battery Group Size 51 500CCA | 118.1598 | X |  | X | X |  |  |  | X | X | X | X | X | 125.6255
GM106369-S |  | Battery, Opt Duty 500CCA, GRP51 12V Wet Canada | 107.4914 | X |  | X | X |  |  |  | X | X | X | X | X | 114.2831
GM48808-KP1 | GM106369 | Battery Group Size 26 500CCA | 119.9022 |  | X | X | [9 empty] | 127.4788
GM101615-KP1-QS | GM101615-S1 | Alternator Brush Cover | 19.1761 | [7 empty] | X | X | X | X |  | 20.3877
GM102176-KP1-QS | GM102176-S1 | Pressure Sensor Cover | 5.761 | [6 empty] | X | X | X | X | X | X | 6.125
GM110949-KP1-QS | GM110949-S1 | Breather Tube Heater/Oil Heater Kit, 120V (14 kW) | 295.1506 | [7 empty] | X | X |  |  |  | 313.7993
GM110949-KP2-QS | GM110949-S2 | Breather Tube Heater/Oil Heater Kit, 120V (20 kW) | 277.9069 | [9 empty] | X | X |  | 295.466
GM110949-KP3-QS |  | Cranckcase Breather And Oil Heater, 26KW | 170.2046 | [11 empty] | X | 180.9588
GM110948-KP2-QS | GM110948-S2 | Cold Weather Package Kit, 120V (20kW) | 485.57 | [9 empty] | X | X |  | 516.25
GM110948-KP1-QS | GM110948-S1 | Cold Weather Package Kit, 120V (14kW) | 312.1968 | [7 empty] | X | X |  |  |  | 331.9225
GM110948-KP3-QS | GM110948-S3 | Cold Weather Package Kit, 120V (26kW) | 452.5888 | [11 empty] | X | 481.1888
GM119028-KP1-QS | GM119028-S1 | 120V Battery Heater Kit | 131.1121 | [11 empty] | X | 139.3963
GM119027-S1 |  | Flex Fuel Line | 34.3133 | [11 empty] | X | 36.4813
GM107377-KP-QS | GM107377-S | Vent Tube Plug Kit | 14.8286 | [10 empty] | X |  | 15.7655
GM85224-KP1-QS | GM85224-S1 | Oil Makeup Kit | 340.0649 | X | [11 empty] | 361.5514
GM85409-KP1-QS | GM85409-S1 | Spark Arrestor - USFS Approved | 23.044 | X | [11 empty] | 24.5
GM90095-KP1-QS | GM90095-S1 | Emergency Stop - Composite Enclosure: Non-locking | 55.9426 | [6 empty] | X |  | X |  | X |  | 59.4772
GM103279-KP1-QS | GM103279-S1 | Lockable Emergency Stop - Remote Mounting | 98.0119 |  |  |  | X |  |  | X | X | X | X | X | X | 104.2046
GM118290 |  | Kit, Residential Maint (8RESV) NO OIL | 40.327 |  |  |  | X | X | [7 empty] | 42.875
GM118291 |  | Kit, Residential Maint (8.5RES) NO OIL | 49.38 |  | X | [10 empty] | 52.5
GM118292 |  | Kit, Residential Maint(10/12RESV) NO OIL | 59.256 |  |  | X | X | X | [7 empty] | 63
GM118293 |  | Kit, Residential Maint (12/14RES) NO OIL | 49.38 |  |  | X | X | X | X | X | X |  |  |  |  | 52.5
GM118295 |  | Kit, Residential Maint (17/18/20RES/RCA) | 56.787 | [10 empty] | X |  | 60.375
GM121579 |  | 26kW Maint. Kit, No Oil | 56 | [11 empty] | X | 59.7625
GM113935-KP1-QS | GM113935-S1 | Lockable Emergency Stop - Enclosure Mounting | 111.3915 |  |  |  | X | X | X | X | X | X | X | X | X | 118.4296
GM118708 | GM90365-SKP1-QS | Maintenance Kit – SV620 (8RESV/L Kit) | 46.088 |  |  |  |  | X | [7 empty] | 49
GM118709 | GM90366 | Maintenance Kit – KT725 (10/12RESV/L Kit) | 76.6157 | [5 empty] | X | [6 empty] | 78.75
GM118704 | GM62345-SKP1-QS | Maintenance Kit – CH640 | 64.194 |  | X | [10 empty] | 68.25
GM118705 | GM62346-SKP1-QS | Maintenance Kit – CH740 | 64.194 | X |  | X |  |  |  | X | X | X |  |  |  | 68.25
GM100209-SKP1-QS |  | Maintenance Kit - 2.2T - 30-38kW | 73.247 | [12 empty] | 77.875
GM118706 | GM62347 | Kit, Resi Mt.17/18/20RES/RCA)GM62347 | 79.2736 | [9 empty] | X | X |  | 84
GM119128 |  | 26kW Maint. Kit, 10W-50 Oil (300 Hour) | 95.47 | [11 empty] | X | 101.5
GM119129 |  | Maintenance Kit 26RCA, 5W-30 Oil | 79.27 | [11 empty] | X | 84
GM32333 |  | Harness, 25', Remote Panel | 345.66 | [12 empty] | 367.5
GM32333-S8 |  | Harness, 100' Remote Panel | 1104.1368 | [12 empty] | 1173.9
GM120581 |  | Battery Rack | 778.9448 | [12 empty] | 480
GM92228-KP1-QS |  | 3" Concrete Mounting Pad (only comes in quantities of 5) SHIPS WITHIN US ONLY | 220 | [5 empty] | X | [6 empty] | 236.25
GM92228-KP2-QS |  | 4" Concrete Mounting Pad (only comes in quantities of 5) SHIPS WITHIN US ONLY | 230 | [5 empty] | X | [6 empty] | 249.375
GM90969-KP1-QS |  | 3" Concrete Mounting Pad (only comes in quantities of 5) SHIPS WITHIN US ONLY | 200 | [8 empty] | X |  | X |  | 214.375
GM90969-KP2-QS |  | 4" Concrete Mounting Pad (only comes in quantities of 5) SHIPS WITHIN US ONLY | 235 | [8 empty] | X |  | X |  | 253.75
GM104820-KP1-QS |  | 3" Concrete Mounting Pad (only comes in quantities of 5) SHIPS WITHIN US ONLY | 245 | [7 empty] | X |  | X |  | X | 262.5
GM104820-KP2-QS |  | 4" Concrete Mounting Pad (only comes in quantities of 5) SHIPS WITHIN US ONLY | 280 | [7 empty] | X |  | X |  | X | 301.875
GM94923 |  | RESV Display Unit | [13 empty] | 822.5
GM109323 |  | RCA Display Unit | [13 empty] | 1312.5
GM120288 |  | RCA Display Unit, Shadow Grass Habitat | [13 empty] | 2275
GM120289 |  | RCA Display Unit, Break-Up Country | [13 empty] | 2275
GM120290 |  | RCA Display Unit, Bottomland | [13 empty] | 2275
GM118073 |  | 7 Year Comprehensive Warranty | 750 | X | X | X | X | X | X | X | X | X | X | X | X | 608.125
GM118074 |  | 10 Year Comprehensive Warranty | 1050 | X | X | X | X | X | X | X | X | X | X | X | X | 870.625
Liquid-Cooled Accessories
NEW Part Number | Old Part Number | Description | MSRP | 24RCL(A) | 30RCL(A) | 38RCL(B)(C) | 48RCL(A)(B)(C) | 60RCL(A)(B) | KG80R | KG100R | KG125R | KG150R | Total Cost to Customer
GM81529-KP1-QS | GM81529-S1 | Programmable Interface Module (PIM) (UL) | 340.1122 | X | X | X | X | X |  |  |  |  | 361.6017
GM81529-KP2-QS | GM81529-S2 | Programmable Interface Module (PIM) (CSA) | 344.1131 | X | X | X | X | X |  |  |  |  | 365.8553
GM92001-KP1-QS | GM92001-1 | Power Relay Module (PRM) | 133.6378 | X | X | X | X | X |  |  |  |  | 142.0815
GM17250-KP1-QS | GM17250-S1 | 400 Amp Current Transformer – Larger Inner Diameter (for use with LCM or Load Shed kit, if required) | 153.901 | X | X | X | X | [5 empty] | 163.625
GM17250-KP2-QS | GM17250-S2 | 500 Amp Current Transformer (for use with LCM or Load Shed kit, if required) | 153.901 |  |  |  |  | X |  |  |  |  | 163.625
GM114539-KP1-QS | GM114539-S1 | OnCue Plus- Wireless Radio Kit | 172.83 | X | X | X | X | X |  |  |  |  | 183.75
GM104703-S1 |  | Battery Heater, 120V, 65W | 154.7158 | X | X | X | X | X | X | X | X | X | 164.4913
GM106373-S |  | Battery Group Size 24 650CCA | 129.211 | X | X | X | X | X |  |  |  |  | 136.3075
GM106373-CAN-S |  | Battery, Opt Duty 650CCA, GRP24 12V Wet (Canada) | 132.4783 | X | X | X | X | X |  |  |  |  | 150.0491
GM90235-KP1-QS | GM90235-S1 | Block Heater, 500W, 120V | 94.645 | X | X | X | [6 empty] | 100.625
GM90235-KP2 | GM90235-S2 | Block Heater, 500W, 240V | 94.645 | X | X | X | [6 empty] | 100.625
GM78529-KP1-QS | GM78529-S1 | Block Heater, 1500W, 120V | 94.645 |  |  |  | X | X |  |  |  |  | 100.625
GM78529-KP2 | GM78529-S2 | Block Heater, 1500W, 240V | 94.645 |  |  |  | X | X |  |  |  |  | 100.625
GM78171-S1 |  | Crankcase Vent Heater Kit | 928.8543 | [8 empty] | X | 987.5425
GM93357-KP2 | GM93357-S2 | Oil Pan Heater - 120V | 118.2662 | X | X | X | [6 empty] | 125.7386
GM93357-KP1-QS | GM93357-S1 | Oil Pan Heater, 150W 120V | 156.9427 | X | X | X | [6 empty] | 166.8589
GM103279-KP1-QS | GM103279-S1 | Lockable Emergency Stop - Remote Mounting | 98.0119 | X | X | X | X | X | X | X | X | X | 104.2046
GM113935-KP2-QS | GM113935-S2 | Lockable Emergency Stop - Enclosure Mounting | 111.3915 | X | X | X | X | X |  |  |  |  | 118.4296
GM91356-S1 |  | REMOTE ANNUNCIATOR | 603.5984 | [5 empty] | X | X | X | X | 641.7358
GM91356-S2 |  | REMOTE ANNUNCIATOR W/ ATS | 985.74 | [5 empty] | X | X | X | X | 1048.0225
GM91356-S3 |  | REMOTE ANNUNCIATOR W/ 4 ATS | 1692.1613 | [5 empty] | X | X | X | X | 1799.0779
GM62466-S1 |  | REMOTE ANNUNCIATOR POWER SUPPLY | 49.38 | [5 empty] | X | X | X | X | 52.5
GM41143-S2 |  | CONVERTER, MODBUS/ETHERNET | 554.9006 | [5 empty] | X | X | X | X | 589.9611
PA-343303 |  | Gaseouse filter | 135.795 | [5 empty] | X | X | X | X | 144.375
GM93396 | GM93396-SKP1-QS | Maintenance Kit – 2.2L | 69.955 | X | X | X | [6 empty] | 74.375
GM86771 | GM86771-SKP1-QS | Maintenance Kit – 4.3L | 95.468 |  |  | X | [6 empty] | 101.5
GM83718 | GM83718-SKP1-QS | Maintenance Kit – 5.0L | 104.521 |  |  |  | X | [5 empty] | 111.125
GM62348-SKP1-QS |  | Kit, Residential Maint (15/30RES) | 96.291 |  |  | X | [6 empty] | 102.375
GM89979 | GM89979-SKP1-QS | Maintenance Kit – 5.7L | 101.229 |  |  |  |  | X |  |  |  |  | 107.625
GM106686-S | GM106686-SKP1-QS | Maintenance Kit - 6.2L | 206.573 |  |  |  | X | X |  |  |  |  | 219.625
GM115956-KP1-QS |  | Dual Fuel, NG/LP | 1186.211 |  |  |  | X | X |  |  |  |  | 1261.1599
GM118296 |  | Kit, Residential Maint (24RCL) NO OIL | 40.327 | X | [8 empty] | 42.875
GM118297 |  | Kit, Residential Maint (38RCL) NO OIL | 58.433 |  |  | X | [6 empty] | 62.125
GM118298 |  | Kit, Residential Maint (48RCL) NO OIL | 59.256 |  |  |  | X | [5 empty] | 63
GM118299 |  | Kit, Resi maint (48RCLA/60RCL) NO OIL | 64.194 |  |  |  | X | X |  |  |  |  | 68.25
GM118294 |  | Kit, Residential Maint (15/30RES) NO OIL | 66.663 |  | X | [7 empty] | 70.875
221886 |  | 5 Year Comprehensive Warranty | [6 empty] | X | X |  |  | 615.125
221887 |  | 5 Year Comprehensive Warranty | [8 empty] | X | X | 1270.5
GM118078 |  | 7 Year Comprehensive Warranty |  | X | X | X | X | X |  |  |  |  | 870.625
GM118079 |  | 10 Year Comprehensive Warranty |  | X | X | X | X | X |  |  |  |  | 1220.625
ATS Accessories
NEW Part Number | Old Part Number | Description | MSRP | RDT | RXT | Compatible w/ Contactor | Service Entrance | Total Cost to Customer
GM84662-KP1-QS | GM84662-S1 | Status Indicator Module | 32.92 |  | X |  |  | 35
GM84662-KP2-QS | GM84662-S2 | Status Indicator Module, Load Control | 50.5665 |  | X |  |  | 53.7615
GM29856-KP1 | GM29856-S1 | Auxiliary Contacts, 100-200A | 76.9113 | X | X | GM71468 GM71469 GM80547 GM80549 | X | 81.7708
GM104789-KP1 | GM104789-S1 | Auxiliary Contacts, 100-200A | 10.4747 | X | X | GM103487 GM103488 GM103489 GM103490 GM103491 GM103492 | X | 11.1366
GM100830-KP1 | GM100830-S1 | Auxiliary Contacts, 400A | 25.0819 | X | X | GM80139 GM80140 GM80551 GM81111 GM88426 GM88427 | X | 26.6667
GM104558-KP1 | GM104558-S1 | Auxiliary Circuit Breaker kit, 15A, 100-200A | 51.8381 |  | X |  | X Only | 55.1134
GM104558-KP2 | GM104558-S2 | Auxiliary Circuit Breaker kit, 15A, 400A - Legacy | 50.836 |  | X |  | X Only | 54.048
GM104558-KP3 | GM104558-S3 | Aux Circuit Breaker, 15A, 300-400A | 41.1767 |  | X |  | X | 43.7784
GM104558-KP4 | GM104558-S4 | Aux Circuit Breaker, 20A, 100-200A | 48.4979 |  | X |  | X | 51.5622
GM104558-KP5 | GM104558-S5 | Aux Circuit Breaker, 20A, 400A - Legacy | 55.964 |  | X |  | X | 59.5
GM104558-KP6 | GM104558-S6 | Aux Circuit Breaker, 20A, 300-400A | 47.1176 |  | X |  | X | 50.0947
GM92001-KP1-QS | GM92001-1 | Power Relay Module (PRM) | 133.6378 | X | X |  | X | 142.0815
GM38795-KP1 | GM38795-S | External Alarm Module | 219.736 | X |  |  | X | 233.6196
GM38796-KP1 | GM38796-S | Accessory Board | 204.927 | X |  |  | X | 217.875
GM38799-KP2 | GM38799-S2 | Bezel | 44.1933 | X |  |  | X | 46.9856
GM17250-KP1-QS | GM17250-S1 | Current Transformer, 400A | 153.901 | X |  |  | X | 163.625
GM17250-KP2-QS | GM17250-S2 | Current Transformer, 500A | 153.901 | X |  |  | X | 163.625
GM47597-S2 | GM47597-KP2 | Programmable Exerciser, 100 -200A | 290.7741 | X |  |  | X | 309.1463
GM47597-S1 | GM47597-KP1 | Programmable Exerciser, 400A, 200A SE & 400A SE | 356.0956 | X |  |  | X | 378.595
GM49867-KP1 | GM49867-S1 | Circuit Breaker Option Disconnect | 15.637 | X |  |  | X | 16.622
GM87869-KP1 | GM87869-S1 | Space Heater w/Hygrostat | 616.5729 | X |  |  | X | 655.5301
GM88281-KP1-QS | GM88281-1 | Load Shed | 295.6168 | X |  |  | X | 314.2949
GM87487-KP1 | GM87487-S1 | SPD (Normal Side Only) | 389.7022 | X |  |  | X | 414.3249
GM87487-KP2 | GM87487-S2 | SPD (Normal & Emergency) | 687.7098 | X |  |  | X | 731.1617
GM39334-KP |  | Production Literature |  | X |  |  |  | 13.125
GM84653-KP |  | Production Literature |  |  | X |  |  | 13.125
GM39335-KP |  | Technical Literature |  | X |  |  |  | 35
GM84652-KP |  | Technical Literature |  |  | X |  |  | 35
GM118076 |  | 7 Year Comprehensive Warranty |  | X | X |  |  | 170.625
GM118077 |  | 10 Year Comprehensive Warranty |  | X | X |  |  | 258.125